220/380 V and 230/400 V

3 Phase, 50 Hz, IP55

3000 rpm

General  Specification

| Model | STT020A | STT030A | STT055A |
| --- | --- | --- | --- |
| Power [Kw/Hp] | 1.5/2 | 2.2/3 | 4/5.5 |
| Voltage [V], Phase, Frequency | 220 / 380 V, 3 Ph, 50 Hz |  |  |
| Rated current [A] | 3.5 | 4.8 | 8.2 |
| Insulation class | F |  |  |
| Protection class | IP55 |  |  |
| Impeller | Marine Type |  |  |
| Impeller speed Approx [rpm] | 2855 | 2855 | 2905 |
| Float | PAF080B x 1 |  | PAF100B x 1 |
| Weight Approx. [Kg] | 42 | 44 | 60 |

Applivation for aerator and mixing tank

| Oxygen trans | 3.0 | 4.5 | 8.2 |
| --- | --- | --- | --- |
| Min. depth [m] | 1.5 | 1.5 | 1.5 |
| Max. depth [m] | 2.5 | 2.5 | 3.5 |
| Working distance [m] | 12 | 15 | 20 |
| Mixing Volume [cu.m] | 100 | 150 | 300 |

Material

| Housing | Stainless Steel 304 |
| --- | --- |
| Drive Shaft | Stainless Steel 304 |
| Propeller | Stainless Steel 304 |
| Mounting Bracket | Stainless Steel 304 |
| Boits & Nut | Stainless Steel 304 |
| Float | Polyethylene, Polyurethane foam filled |